## 1st Run -- BHVO
Table S1 | Summary of geochemical analyses of the USGS BHVO-2 microanalysis glass material
reflecting the average accuracy and precision of the LA-ICP-MS analytical dataset
Channel | Element | Measured | Accepted | Accuracy (% Diff) | Precision (%RSD) | Minimum | Maximum
Na23_ppm | Na | 16557.5 | 17806 | -7.01 | 1.92 | 16379.7 | 16685
Mg24_ppm | Mg | 45817.5 | 42994 | 6.57 | 2.27 | 45267.5 | 46303.1
Al27_ppm | Al | 71072.3 | 71971 | -1.25 | 5.09 | 69649.1 | 73107.3
Si29_ppm | Si | 240760 | 230428 | 4.48 | 2.05 | 238502 | 243396
Sc45_ppm | Sc | 32.5578 | 33 | -1.34 | 6.34 | 31.5692 | 33.6281
Ti47_ppm | Ti | 16134.6 | 16300 | -1.01 | 4.36 | 15883.4 | 16536.9
V51_ppm | V | 279.247 | 308 | -9.34 | 1.91 | 276.552 | 281.885
Cr53_ppm | Cr | 301.464 | 293 | 2.89 | 1.68 | 298.643 | 303.525
Mn55_ppm | Mn | 1372.3 | 1317 | 4.2 | 2.67 | 1355.29 | 1391.64
Co59_ppm | Co | 47.2443 | 44 | 7.37 | 1.87 | 46.7395 | 47.552
Ni60_ppm | Ni | 126.629 | 116 | 9.16 | 2.25 | 125.366 | 128.171
Cu63_ppm | Cu | 127.539 | 127 | 0.42 | 2.47 | 125.822 | 128.92
Zn66_ppm | Zn | 113.434 | 102 | 11.21 | 11.37 | 109.045 | 120.835
Ga71_ppm | Ga | 21.1098 | 22 | -4.05 | 6.34 | 20.6791 | 21.8807
Ge72_ppm | Ge | 1.9012 | 1.6 | 18.82 | 4.5 | 1.875 | 1.9506
Rb85_ppm | Rb | 8.9239 | 9.2 | -3 | 3.69 | 8.7799 | 9.1032
Sr88_ppm | Sr | 310.261 | 396 | -21.65 | 5.83 | 301.169 | 319.251
Y89_ppm | Y | 23.2942 | 26 | -10.41 | 6.27 | 22.4804 | 23.8903
Zr90_ppm | Zr | 156.045 | 170 | -8.21 | 6.21 | 150.661 | 160.06
Nb93_ppm | Nb | 17.0984 | 18.3 | -6.57 | 3.34 | 16.8549 | 17.4126
Mo95_ppm | Mo | 4.413 | 3.8 | 16.13 | 2.26 | 4.3562 | 4.4494
Cs133_ppm | Cs | 0.098746 | 0.1 | -1.25 | 8.64 | 0.094043 | 0.10237
Ba137_ppm | Ba | 127.826 | 131 | -2.42 | 3.23 | 125.772 | 129.905
La139_ppm | La | 15.0105 | 15.2 | -1.25 | 3.98 | 14.7543 | 15.3385
Ce140_ppm | Ce | 37.7404 | 37.6 | 0.37 | 2.08 | 37.3259 | 38.1065
Pr141_ppm | Pr | 5.1848 | 5.35 | -3.09 | 4.76 | 5.046 | 5.282
Nd146_ppm | Nd | 24.2509 | 24.5 | -1.02 | 4.52 | 23.7453 | 24.8337
Sm147_ppm | Sm | 6.0715 | 6.1 | -0.47 | 5.28 | 5.8901 | 6.1943
Eu153_ppm | Eu | 2.0748 | 2.07 | 0.23 | 5.8 | 2.0074 | 2.1232
Gd157_ppm | Gd | 6.2088 | 6.16 | 0.79 | 7.34 | 5.9669 | 6.4196
Tb159_ppm | Tb | 0.85516 | 0.92 | -7.05 | 5.65 | 0.82773 | 0.87316
Dy163_ppm | Dy | 4.9615 | 5.28 | -6.03 | 5.95 | 4.7986 | 5.0863
Ho165_ppm | Ho | 0.90114 | 0.98 | -8.05 | 6.03 | 0.86999 | 0.91987
Er166_ppm | Er | 2.402 | 2.56 | -6.17 | 3.26 | 2.3654 | 2.4432
Tm169_ppm | Tm | 0.30061 | 0.34 | -11.59 | 3.12 | 0.29714 | 0.30595
Yb172_ppm | Yb | 1.8959 | 2.01 | -5.67 | 7.12 | 1.8381 | 1.9701
Lu175_ppm | Lu | 0.25669 | 0.279 | -8 | 5.17 | 0.25243 | 0.26433
Hf178_ppm | Hf | 3.9603 | 4.32 | -8.33 | 4.62 | 3.8897 | 4.0637
Ta181_ppm | Ta | 0.99927 | 1.15 | -13.11 | 1.24 | 0.99287 | 1.0052
W182_ppm | W | 0.25344 | 0.23 | 10.19 | 2.08 | 0.25165 | 0.25647
Pb208_ppm | Pb | 1.7674 | 1.7 | 3.97 | 7.79 | 1.7184 | 1.8461
Th232_ppm | Th | 1.0868 | 1.22 | -10.92 | 6.25 | 1.055 | 1.1225
U238_ppm | U | 0.43305 | 0.403 | 7.46 | 5.52 | 0.42461 | 0.44671

## 2nd Run -- BHVO
Table S2 | Summary of geochemical analyses of the USGS BHVO-2 microanalysis glass material
reflecting the average accuracy and precision of the LA-ICP-MS analytical dataset
Channel | Element | Measured | Accepted | Accuracy (% Diff) | Precision (%RSD) | Minimum | Maximum
Na23_ppm | Na | 15953.9 | 17806 | -10.4 | 2.41 | 15774.2 | 16274
Mg24_ppm | Mg | 43829.1 | 42994 | 1.94 | 2.31 | 43154.8 | 44430.8
Al27_ppm | Al | 67700.7 | 71971 | -5.93 | 7.3 | 63928.6 | 70446
Ca43_ppm | Ca | 80174.6 | 81430 | -1.54 | 8.57 | 74214.7 | 83366.5
Sc45_ppm | Sc | 31.2182 | 33 | -5.4 | 8.56 | 29.1765 | 32.8153
Ti47_ppm | Ti | 15240.2 | 16300 | -6.5 | 4.71 | 14764.7 | 15685.3
V51_ppm | V | 273.91 | 308 | -11.07 | 7.51 | 253.459 | 281.545
Cr53_ppm | Cr | 287.342 | 293 | -1.93 | 2.87 | 283.836 | 294.125
Mn55_ppm | Mn | 1243.71 | 1317 | -5.56 | 19.01 | 1080.38 | 1365.04
Co59_ppm | Co | 45.8817 | 44 | 4.28 | 4.38 | 44.588 | 46.932
Ni60_ppm | Ni | 120.627 | 116 | 3.99 | 3.53 | 117.808 | 123.734
Cu63_ppm | Cu | 118.276 | 127 | -6.87 | 5.26 | 112.269 | 120.97
Zn66_ppm | Zn | 109.507 | 102 | 7.36 | 8.16 | 101.461 | 113.794
Ga71_ppm | Ga | 19.2299 | 22 | -12.59 | 6.7 | 18.1502 | 19.7921
Ge72_ppm | Ge | 1.7114 | 1.6 | 6.96 | 13.26 | 1.6003 | 1.8707
Rb85_ppm | Rb | 8.5047 | 9.2 | -7.56 | 7.44 | 7.8697 | 8.6953
Sr88_ppm | Sr | 298.993 | 396 | -24.5 | 8.86 | 274.75 | 312.57
Y89_ppm | Y | 22.7456 | 26 | -12.52 | 13.4 | 20.7707 | 24.9181
Zr90_ppm | Zr | 152.139 | 170 | -10.51 | 13.08 | 137.896 | 165.658
Nb93_ppm | Nb | 16.3379 | 18.3 | -10.72 | 8 | 15.1496 | 17.0925
Mo95_ppm | Mo | 4.2167 | 3.8 | 10.97 | 12.3 | 3.712 | 4.4554
Cs133_ppm | Cs | 0.094051 | 0.1 | -5.95 | 13.52 | 0.083873 | 0.10227
Ba137_ppm | Ba | 123.095 | 131 | -6.03 | 11.53 | 108.738 | 127.195
La139_ppm | La | 14.4499 | 15.2 | -4.94 | 12.38 | 12.8084 | 15.2362
Ce140_ppm | Ce | 36.7521 | 37.6 | -2.26 | 11.78 | 32.3668 | 38.028
Pr141_ppm | Pr | 4.9494 | 5.35 | -7.49 | 11.64 | 4.4308 | 5.2436
Nd146_ppm | Nd | 23.2922 | 24.5 | -4.93 | 11.74 | 20.816 | 24.6564
Sm147_ppm | Sm | 5.7481 | 6.1 | -5.77 | 13.47 | 5.0649 | 6.1521
Eu153_ppm | Eu | 1.97 | 2.07 | -4.83 | 12.15 | 1.7549 | 2.0948
Gd157_ppm | Gd | 5.828 | 6.16 | -5.39 | 10.64 | 5.4068 | 6.2429
Tb159_ppm | Tb | 0.81868 | 0.92 | -11.01 | 12.14 | 0.74207 | 0.87084
Dy163_ppm | Dy | 4.8053 | 5.28 | -8.99 | 11.89 | 4.3569 | 5.0844
Ho165_ppm | Ho | 0.88587 | 0.98 | -9.61 | 14.85 | 0.79062 | 0.96885
Er166_ppm | Er | 2.3102 | 2.56 | -9.76 | 15.14 | 2.0516 | 2.468
Tm169_ppm | Tm | 0.28212 | 0.34 | -17.02 | 15.75 | 0.24693 | 0.30988
Yb172_ppm | Yb | 1.8309 | 2.01 | -8.91 | 13.46 | 1.626 | 1.9453
Lu175_ppm | Lu | 0.24954 | 0.279 | -10.56 | 19.77 | 0.20652 | 0.27433
Hf178_ppm | Hf | 3.8781 | 4.32 | -10.23 | 15.81 | 3.3535 | 4.1767
Ta181_ppm | Ta | 0.97769 | 1.15 | -14.98 | 12.43 | 0.86601 | 1.0418
W182_ppm | W | 0.22839 | 0.23 | -0.7 | 13.28 | 0.20644 | 0.24286
Pb208_ppm | Pb | 1.7155 | 1.7 | 0.91 | 17.03 | 1.4451 | 1.8826
Th232_ppm | Th | 1.0665 | 1.22 | -12.58 | 9.86 | 0.98228 | 1.1339
U238_ppm | U | 0.41694 | 0.403 | 3.46 | 6.88 | 0.39016 | 0.43086

## 3rd Run -- BHVO
Table S3 | Summary of geochemical analyses of the USGS BHVO-2 microanalysis glass material
reflecting the average accuracy and precision of the LA-ICP-MS analytical dataset
Channel | Element | Measured | Accepted | Accuracy (% Diff) | Precision (%RSD) | Minimum | Maximum
Na23_ppm | Na | 15887.6 | 17806 | -10.77 | 1.3 | 15772.7 | 16013
Mg24_ppm | Mg | 43475 | 42994 | 1.12 | 1.57 | 43084 | 43782.3
Al27_ppm | Al | 66827.7 | 71971 | -7.15 | 2.07 | 65993.6 | 67553.1
Ca43_ppm | Ca | 80841.5 | 81430 | -0.72 | 4 | 78666 | 82160.8
Sc45_ppm | Sc | 30.8737 | 33 | -6.44 | 3.19 | 30.3671 | 31.4454
Ti47_ppm | Ti | 15482.7 | 16300 | -5.01 | 1.38 | 15349.3 | 15610.2
V51_ppm | V | 287.834 | 308 | -6.55 | 2.48 | 284.514 | 291.977
Cr53_ppm | Cr | 294.149 | 293 | 0.39 | 1.58 | 291.163 | 296.731
Mn55_ppm | Mn | 1372.75 | 1317 | 4.23 | 3.84 | 1344.43 | 1406.7
Co59_ppm | Co | 46.9213 | 44 | 6.64 | 3.27 | 45.9661 | 47.7736
Ni60_ppm | Ni | 124.183 | 116 | 7.05 | 3.43 | 122.048 | 126.835
Cu63_ppm | Cu | 121.902 | 127 | -4.01 | 4.85 | 119.188 | 125.758
Zn66_ppm | Zn | 113.808 | 102 | 11.58 | 3.61 | 111.753 | 115.694
Ga71_ppm | Ga | 19.9872 | 22 | -9.15 | 3.23 | 19.5671 | 20.3494
Ge72_ppm | Ge | 1.8037 | 1.6 | 12.73 | 5.81 | 1.7355 | 1.8459
Rb85_ppm | Rb | 8.8499 | 9.2 | -3.81 | 4.38 | 8.5673 | 8.9915
Sr88_ppm | Sr | 311.675 | 396 | -21.29 | 6.87 | 298.431 | 320.766
Y89_ppm | Y | 23.0336 | 26 | -11.41 | 6.03 | 22.1915 | 23.6437
Zr90_ppm | Zr | 153.517 | 170 | -9.7 | 5.65 | 148.938 | 157.759
Nb93_ppm | Nb | 16.8547 | 18.3 | -7.9 | 4.5 | 16.3077 | 17.1839
Mo95_ppm | Mo | 4.4271 | 3.8 | 16.5 | 7.54 | 4.2239 | 4.616
Cs133_ppm | Cs | 0.10181 | 0.1 | 1.81 | 6.53 | 0.097603 | 0.10565
Ba137_ppm | Ba | 127.609 | 131 | -2.59 | 4.21 | 123.649 | 129.618
La139_ppm | La | 14.8811 | 15.2 | -2.1 | 5.12 | 14.386 | 15.1865
Ce140_ppm | Ce | 38.3314 | 37.6 | 1.95 | 4.85 | 36.9753 | 39.0864
Pr141_ppm | Pr | 5.1552 | 5.35 | -3.64 | 4.54 | 4.9799 | 5.2225
Nd146_ppm | Nd | 24.1458 | 24.5 | -1.45 | 4.43 | 23.3777 | 24.5362
Sm147_ppm | Sm | 5.8511 | 6.1 | -4.08 | 3.85 | 5.7217 | 5.9845
Eu153_ppm | Eu | 2.0471 | 2.07 | -1.11 | 7.14 | 1.9833 | 2.1343
Gd157_ppm | Gd | 5.921 | 6.16 | -3.88 | 10.72 | 5.6158 | 6.2822
Tb159_ppm | Tb | 0.8249 | 0.92 | -10.34 | 6.85 | 0.79923 | 0.85918
Dy163_ppm | Dy | 4.8005 | 5.28 | -9.08 | 7.56 | 4.6206 | 5
Ho165_ppm | Ho | 0.88309 | 0.98 | -9.89 | 7.39 | 0.85411 | 0.91591
Er166_ppm | Er | 2.3526 | 2.56 | -8.1 | 7.71 | 2.2339 | 2.4313
Tm169_ppm | Tm | 0.29254 | 0.34 | -13.96 | 9.06 | 0.27416 | 0.30479
Yb172_ppm | Yb | 1.8772 | 2.01 | -6.61 | 5.95 | 1.8144 | 1.9344
Lu175_ppm | Lu | 0.2535 | 0.279 | -9.14 | 10.63 | 0.24152 | 0.26759
Hf178_ppm | Hf | 3.9832 | 4.32 | -7.8 | 7.42 | 3.8091 | 4.1074
Ta181_ppm | Ta | 0.98662 | 1.15 | -14.21 | 5.73 | 0.95313 | 1.0125
W182_ppm | W | 0.23165 | 0.23 | 0.72 | 15.24 | 0.21474 | 0.25109
Pb208_ppm | Pb | 1.7665 | 1.7 | 3.91 | 0.92 | 1.7588 | 1.7776
Th232_ppm | Th | 1.0975 | 1.22 | -10.05 | 4.19 | 1.0657 | 1.1179
U238_ppm | U | 0.44065 | 0.403 | 9.34 | 7.95 | 0.42276 | 0.45987